## Slide 1: Static Characteristics of Measurement System Elements
Sensors & Actuators – Joel von Rotz

## Slide 2: Contents
Calibration
non-linearity
General model of elements
error of a measuring system of ideal elements
error reduction technique
Accuracy
Precision
and statistical tool.

## Slide 3: Overview

## Slide 4: Range & Span

## Slide 5: Ideal Straight Line & Non-Linearity

## Slide 6: Sensitivity
For a non-linear element

## Slide 7: Environmental Effects
Modifying Effect
Interfering Effect

## Slide 8: Hysteresis

## Slide 9: Resolution
: width of widest step

## Slide 10: Wear & Aging
: time since day 0 of use

## Slide 11: Error Bands
Notes: Non-linearity, hysteresis and resolution effects in many modern sensors and transducers are so small that it is difficult and not worthwhile to exactly quantify each individual effect.

## Slide 12: Generalised Model of a System
Notes: Non-linearity, hysteresis and resolution effects in many modern sensors and transducers are so small that it is difficult and not worthwhile to exactly quantify each individual effect.

## Slide 13: Repeatability
Statistical variations in the output of a single element with time
Notes: Repeatability is the process of applying a constant input and observing the output value. Ideally, the output value is constant and the same value all the time.
In reality, this is not the case  external influences.

## Slide 14: Repeatability
Statistical variations in the output of a single element with time
Notes: Using the standard deviation of an element, the repeatability can viewed. The higher the deviation, the less repeatable it is.

## Slide 15: Tolerance
Statistical variations in the output of a single element with time
Notes: : the desired/quoted value (in this case resistance)
Tolerance is used when binning products/components, such as MOSFETs. Goal: Bang for the manufacturer’s budget-buck (good enough tolerance that fits the desired manufacturing expenditure).
𝑅_0: the desired/quoted value (in this case resistance)
Tolerance is used when binning products/components, such as MOSFETs. Goal: Bang for the manufacturer’s budget-buck (good enough tolerance that fits the desired manufacturing expenditure).

## Slide 16: Accuracy & Precision
Notes: Accuracy defines how close to the truth
Precision defines the standard deviation (how close each measurement is to one another)

## Slide 17: Calibration
“True value” of *
“True value” of *
“True value” of *
“True value” of
*true value only possible through ultimate standard measurement
Notes: What is Calibraiton?
Static characteristics of an element can be found experimentally by measuring the values of input , output and the environmental inputs and  is either at a constant value or changing slowly.
True Values
Standard measurement systems are highly calibrated measurement devices, which allows a system to be calibrated upon the “true value”. The daisy chain the whole calibration goes through introduces accuracy issues
What is Calibraiton?
Static characteristics of an element can be found experimentally by measuring the values of input 𝐼, output 𝑂 and the environmental inputs 𝐼_𝑀 and 𝐼_𝐼  𝐼 is either at a constant value or changing slowly.
True Values
Standard measurement systems are highly calibrated measurement devices, which allows a system to be calibrated upon the “true value”. The daisy chain the whole calibration goes through introduces accuracy issues

## Slide 18: Measurement standard
Ultimate/primary
time, length, mass, current and temperature
Transfer/intermediate
Calibration of standard measurement
Internet Calibration
Calibration against primary or secondary standard at remote location.
Notes: What is Calibraiton?
Static characteristics of an element can be found experimentally by measuring the values of input , output and the environmental inputs and  is either at a constant value or changing slowly.
What is Calibraiton?
Static characteristics of an element can be found experimentally by measuring the values of input 𝐼, output 𝑂 and the environmental inputs 𝐼_𝑀 and 𝐼_𝐼  𝐼 is either at a constant value or changing slowly.

## Slide 19: Experimental Measurements
① versus with
② versus with constant
③ Repeatability Test
Notes: ① versus with (under ‘standard’ environment)
Hysteresis significant (a)
Hysteresis is insignificant (b)
② versus with constant (under ‘standard’ environment)
Determining
  Change by a known range
   can be determined
Determining
  : mid-value of input range
  Change by a known range
  3a. If changes only modifying (no interference):
  3b. If changes modifying & interference:
③ Repeatability (under normal environment)
Measure Standard Deviation and compare with old deviation
① 𝑶 versus 𝑰 with 𝑰_𝑴=𝑰_𝑰=𝟎 (under ‘standard’ environment)
Hysteresis significant (a)
𝑁(𝐼)=𝑂(𝐼)−(𝐾⋅𝐼+𝑎)
Hysteresis is insignificant (b)
𝑁(𝐼)≈0
② 𝑶 versus 𝑰_𝑴,𝑰_𝑰 with constant 𝑰 (under ‘standard’ environment)
Determining 𝐾_𝐼
  𝐼=𝐼_𝑀𝐼𝑁
  Change 𝐼_𝐼 by a known range
  Δ𝐼_𝐼→Δ𝑂  𝐾_𝐼 can be determined
  𝐾_𝐼=Δ𝑂/(Δ𝐼_𝐼 )
Determining 𝐾_𝑀
  𝐼=(𝐼_𝑀𝐴𝑋−𝐼_𝑀𝐼𝑁)/2: mid-value of input range
  Change I_𝑀 by a known range
  3a. If 𝑂 changes only modifying (no interference):
  𝐾_𝑀=(\ 1)/𝐼⋅Δ𝑂/(Δ𝐼_𝑀 )=2/(𝐼_𝑀𝐼𝑁+𝐼_𝑀𝐴𝑋 )⋅Δ𝑂/(Δ𝐼_𝑀 )
  3b. If 𝑂 changes modifying & interference:
  𝐾_𝑀=2/(𝐼_𝑀𝐼𝑁+𝐼_𝑀𝐴𝑋 )⋅[Δ𝑂/(Δ𝐼_(𝐼,𝑀) )−𝐾_𝐼 ]
③ Repeatability (under normal environment)
Measure Standard Deviation 𝜎 and compare with old deviation