## Slide 1: Dynamic Characteristics of Measurement Systems
Sensors and Actuators – Joel von Rotz

## Slide 2: Required Content
Transfer Function G(s)
  First order element
  Second order element
Identification of the dynamics of an element
  Step response
  Sinusoidal response
Dynamic errors in measurement systems
Techniques for dynamic compensation

## Slide 3: Overview
Transfer Function G(s)
Identification of the dynamics of an element
Dynamic errors in measurement systems
Techniques for dynamic compensation

## Slide 4: Overview

## Slide 5: Transfer Function
Notes: Where:
M = detector mass ()
C = detector specific heat ()
A = detector surface area ()
U = heat transfer coefficient ()
Where:
M = detector mass (𝑘𝑔)
C = detector specific heat (𝐽 𝑘𝑔^(−1) °𝐶^(−1))
A = detector surface area (𝑚^2)
U = heat transfer coefficient (𝑊 𝑚^(−2) °𝐶^(−1))

## Slide 6: Transfer Function
First Order Element
Second Order Element
Notes: Where:
M = detector mass ()
C = detector specific heat ()
A = detector surface area ()
U = heat transfer coefficient ()
𝜏=𝑅/𝐿=𝑅𝐶=𝑀𝐶/𝑈𝐴
Where:
M = detector mass (𝑘𝑔)
C = detector specific heat (𝐽 𝑘𝑔^(−1) °𝐶^(−1))
A = detector surface area (𝑚^2)
U = heat transfer coefficient (𝑊 𝑚^(−2) °𝐶^(−1))

## Slide 7: Transfer Function
Notes: Left first order, right second order
For oscillation to occure, TWO energy sources are required!

## Slide 8: Transfer Function
First Order Element
Second Order Element
Notes: Where:
M = detector mass ()
C = detector specific heat ()
A = detector surface area ()
U = heat transfer coefficient ()
Where:
M = detector mass (𝑘𝑔)
C = detector specific heat (𝐽 𝑘𝑔^(−1) °𝐶^(−1))
A = detector surface area (𝑚^2)
U = heat transfer coefficient (𝑊 𝑚^(−2) °𝐶^(−1))

## Slide 9: Step Response
Used for most identification
  Model known → Parameters can be acquired
Shows most common signal, besides sinus/cosine

## Slide 10: Step Response
Error
Notes: Left first order, right second order
For oscillation to occure, TWO energy sources are required!

## Slide 11: Sinusoidal Response
Sinus wave as input:
  Amplitude
  Phase
Product
  Amplitude Ratio:
  Phase Difference

## Slide 12: Sinusoidal Response
Second Order →
First Order ↓

## Slide 13: Dynamic Error
...of a system
...with periodic input signal

## Slide 14: Dynamic Error
Fourier series for periodic signals

## Slide 15: Dynamics Compensations
Inherent Design
First Order:
Decrease Mass, increase Area →reduces
Second Order:
Maximising (stiffer , low mass )

## Slide 16: Dynamics Compensations
Open Loop Compensation

## Slide 17: Dynamics Compensations
Closed Loop Compensation (High Gain)