## Slide 1: Loading Effects
Sensors and Actuators – Joel von Rotz

## Slide 2: Overview
Electrical Loading
Two-port networks

## Slide 3: Thévenin Equivalent Electrical Loading

## Slide 4: Thévenin Equivalent Circuit - Potentiometer Electrical Loading
Ex. Loaded Potentiometer

## Slide 5: Thévenin Equivalent Circuit - Potentiometer Electrical Loading
Ex. Loaded Potentiometer

## Slide 6: Nortion Equivalent Circuit Electrical Loading

## Slide 7: Nortion Equivalent Circuit Electrical Loading

## Slide 8: Generalized Effots & Flow Variables Two Port Networks
across/effort variable (e.g. voltage)
through/flow variable (e.g. current)
Effort drives flow through an impedance
represents power in watts (thermo has watts + temperature)
represents impedance

## Slide 9: Two-port networks
Notes: Flow & Effort Variables and related quantities  The Concept of impedance is applicable to mechanical, fluidic and thermal systems as well as electrical

## Slide 10: Generalized Effots & Flow Variables Two Port Networks
Parallel Mechanical System
Series Electrical circuit

## Slide 11: Generalized Effots & Flow Variables Two Port Networks
Thermal System
RC-Filter (electrical circuit)

## Slide 12: Two-port networks

## Slide 13: Mechanical Sensing Elements Two-port networks

## Slide 14: Thermal Sensing Elements Two-port networks

## Slide 15: Process Loading Two-port networks
Notes: Process Loading is the concept of converting real inputs into measured inputs.
Since the sensor is going to have an influence on the process, the measured value needs to be correct.

## Slide 16: Process Loading Two-port networks
Steady-state
loading
Process:
Sensor:
Notes: Process Loading is the concept of converting real inputs into measured inputs.
Since the sensor is going to have an influence on the process, the measured value needs to be correct.
The force balance equation leads to...  Deviations ,
...the following steady state loading equation  needs to be a lot bigger than  decrease in steady loading error
Process Loading is the concept of converting real inputs into measured inputs.
Since the sensor is going to have an influence on the process, the measured value needs to be correct.
The force balance equation leads to...  Deviations 𝑥 ̇=0, 𝑥 ̈=0
...the following steady state loading equation  𝑘_𝑆 needs to be a lot bigger than 𝑘_𝑃  decrease in loading error

## Slide 17: Process Loading Two-port networks
Dynamic
loading
Process:
Sensor:
Notes: With the case of dynamic loading, the process needs to be adapted to said form.
Deviations ,  Newtons Second leads to differential equations on the left.
By converting them into an electrical-equivalent circuit + Laplace  Dynamic Loading Equation
Dynamic Loading Error  needs to be bigger than
With the case of dynamic loading, the process needs to be adapted to said form.
Deviations 𝑥 ̇≠0, 𝑥 ̈≠0  Newtons Second leads to differential equations on the left.
By converting them into an electrical-equivalent circuit + Laplace  Dynamic Loading Equation
Dynamic Loading Error  𝑍_𝑀𝑆 needs to be bigger than 𝑍_𝑀𝑃

## Slide 18: Bilateral Transducers Two-port networks
Examples: LEDs (Light Sensor/Source), Electromagnetic Effects, Deformation of Crystal
Notes: bilateral transducers are associated with reversible effects
bilateral transducers are associated with reversible effects →𝒇𝒐𝒓 𝒆𝒙𝒂𝒎𝒑𝒍𝒆 𝑀𝑒𝑐ℎ𝑎𝑛𝑖𝑐𝑎𝑙↔𝐸𝑙𝑒𝑐𝑡𝑟𝑖𝑐𝑎𝑙

## Slide 19: Bilateral Transducers Two-port networks
Transmitter/Sender
Receiver/Sensor
Notes: bilateral transducers are associated with reversible effects
bilateral transducers are associated with reversible effects →𝒇𝒐𝒓 𝒆𝒙𝒂𝒎𝒑𝒍𝒆 𝑀𝑒𝑐ℎ𝑎𝑛𝑖𝑐𝑎𝑙↔𝐸𝑙𝑒𝑐𝑡𝑟𝑖𝑐𝑎𝑙